Exam questions

- Electrical Engineering as a field of practical applications of electromagnetic phenomena

- The place of electrical engineering  in the training system of bachelors on the specialty "Transport, transport equipment and technologies".

- The development of electrical engineering and the achievement of science in this field.

- Linear electrical circuits

- Sources and receivers of electrical energy.

- Electrical circuit.

- Basic concepts and elements of the electrical circuit.

- Potential, voltage, amperage, electrical resistance, power, branch, node, contour.

- Modes of operation of electrical circuits.

- Passive and active two-terminal units.

- DC electric circuits

- Direct current.

- Unbranched and branched electric circuits with one source.

- Equivalent resistance of branched electrical circuits.

- Laws of electrical circuits.

- Energy balance in electrical circuits.

- Analysis of the electrical state of unbranched and branched electrical circuits.

- Application of the laws of Kirchhoff.

- Methods of calculation of  electrical circuits.

- Electrical circuits of sinusoidal current

- The principle of the action of the simplest generator of a sinusoidal current.

- The basic concepts and definitions of sinusoidal current

- Instant, amplitude, average and actual values, period, frequency, initial phase.

- Representation of sinusoidal quantities in the form of functions and time graphs, also on the complex plane.

- The main elements of the AC circuit.

- Resistor, inductor, capacitor in the sinusoidal current circuit.

- The laws of Ohm and Kirchhoff for sinusoidal current circuits.

- Serial and parallel connection of a resistor, inductor, capacitor.

- Equation of electrical state.

- Vector diagrams.

- Triangle of voltages, resistances and capacities.

- The voltage resonance, its conditions and practical significance.

- Symbolic method of calculation of alternating current circuits.

- Three-phase electrical circuits

- Three-phase generator.

- Different schemes of connections of receivers of electrical energy in three-phase circuits.

- Symmetrical mode of operation of a three-phase circuit.

- Relations between phase and linear currents and voltages.

- Power in three-phase circuit.

- Unbalanced mode of operation of a three-phase circuit.

- Vector and topographic diagrams.

- Transformers

- Purpose, structure, principle of operation and application of a single-phase transformer.

- Equations of electric state of transformer.

- Short-circuit and idle mode of a transformer.

- Load mode.

- Autotransformers.

- Electric machines

- Direct current machines.

- The structure and the operating principle of machines of direct current.

- The operation of DC machines in the generator and motor modes.

- The induction motor.

- The principle of operation of an induction motor, designation of structural elements.

- Short-circuited rotor motor.

- Starting of induction motors.

- Two-phase and single-phase motors.

- Electrical measurements

- The role and prospects for the development of electrical measurements.

- Measuring process in the generalized representation, its structure and elements.

- SI system as the basis of measurements in international practice.

- Units of measurement of electrical and magnetic quantities.

- Methods of measurements: direct and indirect.

- Metrological and operational characteristics of measuring instruments.

- Classification of measuring instruments by purpose and type of measured values.

- Measurement errors

- Types of errors due to the occurrence and the numerical expression.

- Systematic and random inaccuracies.

- Absolute, relative and reduced errors.

- Instruments' accuracy class.

- Electromechanical analogue measuring instruments

- Structural diagram of a electromechanical measurement device.

- Momenta acting in the measuring mechanism of the device.

- Equation of the scale of the device.

- Devices of magnetoelectric and electrodynamic systems.

- Metrological and operational characteristics of devices.

- The use of devices for measuring electrical quantities.

- Scale converters.

- Shunts, additional resistance. Purpose, wiring and calculation.

- Measurement of EMF, current, voltage, power, resistance in constant, alternating and three-phase current circuits

- Semiconductor Devices

- Physical basics of semiconductor devices.

- Semiconductor diodes, their characteristics and parameters.

- Bipolar and field transistors, their varieties, characteristics and parameters.

- Thyristors, their characteristics and parameters. Application.

- Secondary power supplies

- Rectifiers, smoothing filters, stabilizers.

- Logical Elements

- Mathematical basis of functioning of logical elements and circuits.

- Synthesis of the simplest logic circuits.